## Gas_Fire_Extinguishing
Return | Quota Name | Unit | Engineering Quantity | Equipment Unit Price | Main Material Unit Price | Base Price Unit | 人工单价 translates to "Labor Unit Price". | Material Unit Price | Mechanical Unit Price | Equipment Total | Main Material Total | Base Price Total | 人工合计 translates to "Labor Total". | Material Total | Mechanical Total
7-173 | HFC-227ea L90 Heptafluoropropane Storage Device | set | 8 | 0 | 12.47 | 306.72 | 255.98 | 50.14 | 0.6 | 0 | 99.78 | 2454 | 2047.84 | 401.12 | 4.8
8-253 | Safety Valve DN80 | piece | 2 | 0 | 485.38 | 72.57 | 15.06 | 49.81 | 7.7 | 0 | 970.76 | 145 | 30.12 | 99.62 | 15.4
8-255 | Pressure Signal Device DN80 | piece | 2 | 0 | 0 | 121.71 | 23.05 | 85.04 | 13.62 | 0 | 0 | 243 | 46.1 | 170.08 | 27.24
7-167 | Threaded Connection Selection Valve DN65 | piece | 4 | 0 | 3686.4 | 34.33 | 22.74 | 2.81 | 8.78 | 0 | 14745.6 | 137 | 90.96 | 11.24 | 35.12
7-149 | Gas-driven device pipeline | m | 30 | 0 | 18.98 | 6.91 | 4.06 | 2.6 | 0.25 | 0 | 569.49 | 207 | 121.68 | 78 | 7.62
7-145 | Galvanized seamless steel pipe DN80 | m | 47 | 0 | 128.47 | 8.03 | 4.83 | 0.38 | 2.83 | 0 | 6038.04 | 378 | 226.78 | 17.67 | 133.06
7-144 | Galvanized seamless steel pipe DN70 | m | 23 | 0 | 102.36 | 7.29 | 4.15 | 0.31 | 2.83 | 0 | 2354.21 | 168 | 95.43 | 7.08 | 65.11
7-143 | Galvanized seamless steel pipe DN50 | m | 16 | 0 | 63.71 | 6.15 | 3.26 | 0.25 | 2.64 | 0 | 1019.35 | 98 | 52.11 | 3.97 | 42.29
7-142 | Galvanized seamless steel pipe DN40 | m | 24 | 0 | 44.91 | 5.97 | 3.1 | 0.22 | 2.64 | 0 | 1077.85 | 143 | 74.5 | 5.26 | 63.43
7-141 | Galvanized seamless steel pipe DN32 | m | 14 | 0 | 38.65 | 5.57 | 2.92 | 0.19 | 2.46 | 0 | 541.07 | 78 | 40.87 | 2.69 | 34.43
7-140 | Galvanized seamless steel pipe DN25 | m | 5 | 0 | 27.15 | 4.39 | 2.49 | 0.18 | 1.72 | 0 | 135.76 | 22 | 12.45 | 0.92 | 8.6
7-160 | Gas Nozzle DN25 | piece | 16 | 0 | 197.02 | 14.31 | 7.9 | 1.12 | 5.29 | 0 | 3152.33 | 229 | 126.37 | 17.94 | 84.61
B-001 Supplement | Storage Steel Cylinder L90 (including pressure display relief device and siphon tube) | set | 13 | 0 | 0 | 39356 | 0 | 39356 | 0 | 0 | 0 | 511628 | 0 | 511628 | 0
7-176 | Carbon Dioxide Weight Inspection for Leak Detection | set | 8 | 0 | 0 | 60.52 | 56.85 | 3.67 | 0 | 0 | 0 | 484 | 454.8 | 29.36 | 0
7-157 | Elbow DN80 | Piece | 8 | 0 | 16.54 | 29.93 | 10.69 | 2.25 | 16.98 | 0 | 132.35 | 239 | 85.55 | 18.02 | 135.86
7-157 | 65*80 Tee | Piece | 1 | 0 | 20.68 | 29.93 | 10.69 | 2.25 | 16.98 | 0 | 20.68 | 30 | 10.69 | 2.25 | 16.98
7-156 | 50*60 Tee | Piece | 3 | 0 | 8.79 | 28.29 | 9.47 | 1.84 | 16.98 | 0 | 26.36 | 85 | 28.4 | 5.53 | 50.95
7-155 | 40*50 Tee | Piece | 4 | 0 | 8.27 | 25.49 | 8.17 | 1.49 | 15.83 | 0 | 33.09 | 102 | 32.7 | 5.95 | 63.32
7-154 | 32*40 Tee | Piece | 4 | 0 | 7.24 | 25.32 | 8.17 | 1.31 | 15.83 | 0 | 28.97 | 101 | 32.7 | 5.26 | 63.32
7-156 | Elbow DN65 | Piece | 1 | 0 | 12 | 28.29 | 9.47 | 1.84 | 16.98 | 0 | 12 | 28 | 9.47 | 1.84 | 16.98
7-157 | 80*80 Tee | Piece | 2 | 0 | 24.83 | 29.93 | 10.69 | 2.25 | 16.98 | 0 | 49.65 | 60 | 21.39 | 4.51 | 33.97
8-178 | Pipeline Support | kg | 95 | 0 | 4.23 | 7.74 | 3.12 | 1.99 | 2.63 | 0 | 401.79 | 735 | 296.02 | 189.34 | 250.03
B-002 Supplement | Bottle Station Bracket | Cylinder Set | 8 | 0 | 0 | 2720 | 0 | 2720 | 0 | 0 | 0 | 21760 | 0 | 21760 | 0
6-2469 | Vacuum Test for Low and Medium Pressure Pipelines (within DN100) | m | 129 | 0 | 0 | 2.22 | 1.29 | 0.32 | 0.61 | 0 | 0 | 286 | 166.5 | 41.72 | 78.16
11-41 | Pipeline Painting (First Coat of Red Lead Anti-Rust Paint) | m2 | 27.71 | 0 | 0 | 2.7 | 0.92 | 1.78 | 0 | 0 | 0 | 75 | 25.55 | 49.27 | 0
Total of This Page |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31409.13 | 539915 | 4128.98 | 534556.64 | 1231.28
11-50 | Pipeline Painting (First Coat of Color Paint) | m2 | 27.71 | 0 | 0 | 2.24 | 0.95 | 1.28 | 0 | 0 | 0 | 62 | 26.41 | 35.55 | 0
11-51 | Pipeline Painting (Second Coat of Color Paint) | m2 | 27.71 | 0 | 0 | 2.06 | 0.92 | 1.14 | 0 | 0 | 0 | 57 | 25.55 | 31.51 | 0
11-7 | Manual Rust Removal (Metal Structure, Light Rust) | kg | 345 | 0 | 0 | 0.12 | 0.1 | 0.02 | 0 | 0 | 0 | 42 | 34.98 | 7.07 | 0
11-103 | Metal Structure Painting (First Coat of Red Lead Anti-Rust Paint) | kg | 345 | 0 | 0 | 0.22 | 0.08 | 0.14 | 0 | 0 | 0 | 76 | 27.57 | 48.47 | 0
11-112 | Metal Structure Painting (First Coat of Color Paint) | kg | 345 | 0 | 0 | 0.17 | 0.07 | 0.1 | 0 | 0 | 0 | 59 | 25.46 | 33.81 | 0
11-113 | Metal Structure Painting (Second Coat of Color Paint) | kg | 345 | 0 | 0 | 0.16 | 0.07 | 0.09 | 0 | 0 | 0 | 55 | 25.46 | 29.6 | 0
| Fire Protection Engineering Scaffolding Erection and Dismantling Comprehensive Amortization Cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 178 | 44.5 | 133.5 | 0
| Painting Works Scaffolding Erection and Dismantling Comprehensive Amortization Fee |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 3.75 | 11.25 | 0
Total |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31409.13 | 540459 | 4342.66 | 534887.4 | 1231.28